## Slide 1: Technical Assistance to strengthen the capacity of the Tonga Electricity Commission in promoting private sector investments in Tonga’s Power Sector Pacific Community (SPC) Tonga Electricity Commission (TEC)
Training Program by Dr. Viren Ajodhia
IPPs and PPAs
Thursday 13 August 2020

## Slide 2: Program
Role of the IPP
IPP/PPA process
PPA Basics
PPA and RE technologies
PPA Tariff

## Slide 3: Why an Independent Power Producer?
Growth in electricity demand and aging capacity
Requirement of new investments in power generation
Public finance for power investments is not generally available
Challenges and risks of technologies that are relatively new
Governments seek for competition in power production
New generation investments by Independent Power Producers (IPPs) with Power Purchase Agreement (PPAs)
Utility should remain responsible for generation expansion planning and keeping up reserve capacity

## Slide 4: Power Purchase Agreement (PPA)
A PPA is a legal contract between an electricity generator (seller) and a power purchaser (buyer). During the period of the contract the power purchaser buys electrical energy, and sometimes capacity, from the electricity generator.
The Seller (IPP) is (often) the developer, owner and operator of the technology that generates electricity.
The Buyer is (often) a utility company that purchases the electricity generated from the seller.
Dependent on the type of (renewable) technology utilized for power generation, PPAs need to be tailored to relevant requirements and specific issues.

## Slide 5: Long term relationship
In the PPA a long-term relationship between the utility and the IPP will be created (15 or 20 years – up to 25)
For the IPP a long-term stream of revenues is necessary for securing the financing and the rate of return
For the utility the delivery of a defined amount of electrical energy has been secured
In the case of renewable energy a step has been made towards achieving goals on the targets as set for renewable energy and reduction of the usage of fossil fuels

## Slide 6: Advantages
Encourage and attract private investment
Injection of new foreign capital (FDI) in the country
Transfer of technology and know-how
Completion of project within time frame and budget

## Slide 7: Project structure

## Slide 8: Models
BOT: Build Operate and Transfer
BOOT: Build Own Operate and Transfer
BOO: Build Own Operate

## Slide 9: Build Operate and Transfer
Government grants a concession (right to build, own and operate the facility) to a sponsor
Government grants a long term lease or sell the site to the sponsor (provision of land)
Often acquire most or all of the service provided by the facility
Facility will be often transferred to the government/public sector at the end of the concession period without remuneration

## Slide 10: Build Own Operate and Transfer
BOOT differs from BOT in that the private entity owns the facility
BOOT project is when a government grants a private-sector organisation a concession to build a facility, own it, operate it during the concession period, and then transfer it back to government.

## Slide 11: Build Own Operate
Ownership of the facility remains at the private company (shareholders)
Residual value of the facility remains at the private company
A BOO scheme might provide more incentive for the project sponsors to maintain the facilities during the concession period

## Slide 12: Program
Role of the IPP
IPP/PPA process
PPA Basics
PPA and RE technologies
PPA Tariff

## Slide 13: General process
Competitive bidding (int’l)
IPP Operations
Commercial Operating Date
Tendering
Permits and licences
Planning
Energy mix targets
PPA signing
Start production and invoicing
General principles
Capacity needs identified
Financial clearance
Construction completed
Tests successful
Construction start
Evaluate/Select
PPA as collateral
Projects identified (MW/Technology)
Regulatory Framework
Legal framework
Policy framework

## Slide 14: Tendering process
Regulatory Framework
PPA selection guidelines
Definition of project
Organisation of bidding
PPA signing
Evaluation of bids
Selection of winning bid
Approval by Regulator
Issued by Buyer
Approved by Regulator
Technical criteria
Price criteria
Size, technology, location, interconnection
Competitive process
International announcement

## Slide 15: Typical PPA
Main body
  Core of the legal agreement
Schedules
  Technical details and parameters

## Slide 16: Scope and Term
Scope
  Seller shall design, procure, alter, finance, commision,test, operate and maintain a power plant, interconnection equipment and metering equipment
  Buyer shall purchase and pay for the electrical output
  Buyer shall design, procure, finance, test ,operate, maintain network from point of delivery to transmission line
Term
  Duration will be 20-30 years
  Option for extension

## Slide 17: PPA – Main articles
Definitions
Scope and Term
Conditions precedent
Development stage
Construction period
Commissioning and Entry into commercial service,
Plant operation and maintenance
Measurement of capacity, availability and energy metering
Capacity charge and payment provisions
Fuel price provisions (if needed)
Billing procedures, terms of payment
Insurance
Changes in tax, changes in law
Force Majeure
Termination and buy out provisions
Governing law/dispute resolution
Liability and indemnity
Confidentiality
Representations/warranties/covenants
Miscellaneous

## Slide 18: Schedules in PPA
Description of Power Station/Facility
Technical limits and guarantee values
Development milestones
Interconnection and transmission facilities
Commissioning and testing
Metering standards and testing
Dispatch procedures
Tariffs and billing

## Slide 19: Program
Role of the IPP
IPP/PPA process
PPA Basics
PPA and RE technologies
PPA Tariff

## Slide 20: From Financial Close to Construction Complete
Financial Close
Seller appoints Independent Engineer for monitoring
Seller appoints EPC contractor
Construction of facility
Construction complete

## Slide 21: From Construction Complete to Operations
Construction complete
Performance & Reliability test completed
Net capacity equal or greater than guaranteed capacity
Buyer accepts test reports
Commercial Operations Data (COD)

## Slide 22: Pre-Operation Obligations
Operating procedures
Energy before commissioning
  Upon Sellers request Buyer shall provide energy for construction, testing, start-ups and emergencies.
  Seller shall pay for the energy (tariff rate for industrial facilities)
  Energy produced during testing of the Facility shall be paid by Buyer
Buyer will have access to the Facilities to observe progress of construction

## Slide 23: Development & Construction (1) (Responsibility of Seller)
Seller shall design, construct, install, commissioning, operate and maintain the power plant in accordance
With the specifications
  Capacity at reference conditions, performance curves, partial load curves, losses
  Design data
  Telecommunication and interface with control centre of Buyer
  Power station electrical system, control system and protection system
  Circuit breakers and transformers
  Civil works and fencing

## Slide 24: Development & Construction (2) (Responsibility of Seller)
Reliability and availability
Codes and standards
Operation requirements
Design limits
Environmental requirements
Security and safety
Seller is responsible for
  Permits and licenses
  Credits, grants, loans
Buyer shall assist Seller

## Slide 25: Transmission and distribution Responsibilty of Buyer
Design, construction, installation, commissioning operate and maintain transmission and distribution lines of transmission of agreed amount of power
  connection of delivery point to transmission grid

## Slide 26: Construction-Interconnection Responsibility of Seller
Design, construction, installation, commissioning, operate and maintain interconnection equipment for the transmission of the power
Interconnection equipment must be able to transmit the agreed amount of power
  Switchgear,power transformers, interconnection lines
  Buildings grounding system, data transfer and communication
  Interconnection protection and control

## Slide 27: Metering

## Slide 28: Commissioning and Testing
Performance testing-compliance with minimum performance guarantees and minimum requirements
  capacity, efficiency (heat rate), net electrical output at different load factors
Reliability test to demonstrate that the unit is operating reliable and consistently (cold/hot start, full load operation etc.)
Initial and Annual Dependable Capacity test
  Net Electrical Energy Output has to be measured during the tests

## Slide 29: Operation and Maintenance
Seller and Buyer shall jointly develop operating procedures before COD of the Facility
  Compliant with dispatch procedures
  Compliant with functional specifications
  Day-to day communication about available capacity and dispatch
Minimum performance of Seller
  Dependable Capacity
  Minimum Annual Net Energy Output (MWh)
Long Term Service Agreement

## Slide 30: Scheduling and Dispatch
Month Ahead Notification (14 days before beginning of each month)
  Day by day basis of Net Electrical Output
Week Ahead Notification ( 48 hours before beginning of the week)
  Hour-by hour basis for Net Electrical Output
Day Ahead Notification (7 hours before start of the day)
  Hour by hour basis for Net Electrical Output,start ups, reactive power requirements that day

## Slide 31: Billing Procedure and Terms of Payment
In the event of failure of metering, how the charge will be decided
Penalty contemplated in the event of failure of payment and nature of securities/guarantees
  Obtained by Seller to secure their payment
  Letter of credit for specified amount tied to projected tariff payments for a specified period

## Slide 32: Defaults and Termination (by Buyer)
Termination by the Buyer for Seller’s Default
  No Force Majeure or Buyer’s default
    Failure to achieve Financial Closing Date or COD
    Failure to operate the facility without written consent of Buyer after COD
    Breach of Seller of any of its obligations under the PPA
  Abandonment of the Facility without written consent of Buyer
  In case of bankruptcy, insolvency, winding up or liquidation
  Tampering or undertaking fraudulent action by Seller on interconnection and electrical metering equipment

## Slide 33: Force Majeure
Means any act, event or circumstance or any combination of acts, events or circumstances which:
  beyond the reasonable control of the affected party
  without fault or negligence on the part of the affected party

## Slide 34: Dispute resolution
Dispute resolution by mutual discussions
Dispute resolution through a Panel consisting of one or two high level representative(s)-Technical
And/or dispute resolution submitted to arbitration according to UNCITRAL Rules or to the jurisdiction of a competent Court

## Slide 35: Governing Law
PPA shall be governed by and construed in acccordance with laws of …………….
  Mostly country of operation of Buyer
Change in law includes amendment, modification of any applicable law and its impact on the tariff should adressed in the PPA. This implies an adjustment of the tariff must be possible (Pass-through)

## Slide 36: Confidentiality
Confidential information
Each of the Parties and their contractors, consultants and agents shall hold in confidence all documents and other information relating to the design, construction, insurance, operation, maintenance, management and financing of the power plant

## Slide 37: Program
Role of the IPP
IPP/PPA process
PPA Basics
PPA and RE technologies
PPA Tariff

## Slide 38: PPA for Wind Power
Agree upon an Annual Energy Amount based on the local wind regime as identified by measurements as used for the feasibility study
Also erect at the wind farm site a wind measurement tower with appropriate height and calibrated anemometers, electronic recorder, wind data storage
Generate a daily prediction of power output for each hour of the day

## Slide 39: PPA for Wind Power (2)
Technical means to be provided to utility (software, licenses) to be able to monitor and control the output of the wind park
Utility should have the right to curtail the power output of the wind park up to a total amount of .. MWh’s (to be agreed upon) over a .. year period without charges. If more power is curtailed the utility should pay for the difference.
Administration of produced and curtailed power could be kept in the wind park SCADA system (which must also be accessible for utility). SCADA will also read data from billing meters

## Slide 40: PPA for Wind Power (3)
Include a power production table for a 12 months period under local conditions, including results of wind speed measurements with calibrated anemometers at a height of … meters / ft
Define the availability per windmill generator based on annual hours with wind speeds between a minimum and a maximum speed to be defined based on the wind turbine type

## Slide 41: PPA for Wind Power (4)
In case of high penetration additional measures must be taken into account based on dynamic simulations:
  Effect on system dynamic when adding wind to the generation mix
  Visualize impact of volatility on system control
  Assess opportunities for energy storage
  Impact of increasing spinning reserves
  Compare operation control strategies
  Identify more options in a smart grid context
  Investigate system response to outage or cable loss
  Test mitigation strategies for intermittent generation

## Slide 42: PPA for Solar Power (1)
Agree upon an Annual Energy Amount based on the yearly levels of irradiation as identified by measurements as used for the feasibility study
Irradiation levels vary during the year
Output can be volatile dependent on weather conditions and output predictions – like for the wind speed – are with a higher inaccuracy than wind speed predictions
In case of storage (batteries) the output could determined at a more predictable level

## Slide 43: PPA for Solar Power (2)
Technical means to be provided to utility (software, licenses) to be able to monitor and control the output of the solar power park
Agreements on curtailment of the power output, deemed generation and/or liquidated damages should also be worked out
Administration of produced and curtailed power could be kept in the solar park SCADA system (which must also be accessible for utility). SCADA will also read data from billing meters
Power quality requirements should also be set

## Slide 44: Other renewable sources
Biomass
  Generation with biomass for example by agricultural enterprises, selling on take or pay basis to the utility without much more requirements than what is technically and operational needed (including safety requirements) on both the facility and the utility side.
  On a larger scale terms on output and availability requirements are set.
  Sometimes biomass is season dependent.
  There are risks of biomass quality, water content, transportation to the generation facility.

## Slide 45: Other renewable sources (2)
A PPA for geothermal energy is based on the supply of Base Load to the utility
(Take or pay) Energy amounts to be agreed upon
Availability and maintenance schedules need to be defined sharply. Payment of deemed generation should by arranged for (in both ways)
No intermittency characteristics
Tariffs are based on a Capacity Charge and a price per kWh
Power quality requirements to be defined

## Slide 46: Other renewable sources (3)
Waste to Energy
Particular issues to be considered:
  Technological risks (proven technology)
  Environmental risks
  Waste quality risks
  Heating value (should be > 11 MJ/kg)
  Bottom ashes
  Waste supply throughout the year
  Financial risks
  Gate fee (or: tipping fee) - the charge levied upon a given quantity of waste received at a waste processing facility

## Slide 47: Program
Role of the IPP
IPP/PPA process
PPA Basics
PPA and RE technologies
PPA Tariff

## Slide 48: Pricing issues
Average Cost Pricing
Efficiency Incentives
Capacity Pricing
Availability Incentives

## Slide 49: IPP Costs
$
Initial
Investment
kWh production
Total IPP Costs =
Variable costs
Fixed costs
+

## Slide 50: Optimal pricing
Economic efficiency requires Price = Marginal Costs
The IPP is providing two separate services
  kWh Electricity
  kW Capacity (availability)
These should in principle also be priced separately
  Marginal cost of energy + Marginal cost of capacity
  But: Marginal cost of capacity =0 (as a function of kWh output)
Only pricing at marginal cost would result in a financial loss => Not practical

## Slide 51: Average cost pricing
Price based on expected costs and sales (levelized cost)
  Where

## Slide 52: Average Cost Example
Tariff [ct/kWh]= 2.96*Index1+0.25*Index2+0.30*Index3+10*Index4

## Slide 53: Price Indexing
Possible indexation
  Foreign Currency
  Capital costs (interest rate)
  Inflation effects
  Fuel prices
Tariff [ct/kWh]= 2.96*Index1+0.25*Index2+0.30*Index3+10*Index4

## Slide 54: Fuel Efficiency
Fuel costs
  = efficiency * output * price
  = gallon/kWh * kWh * $/gallon
Linking revenue to actual cost
  No risks for IPP
  However: also no incentives to operate efficiently
Unlinking revenue from actual costs
  Risks for IPP: but symmetric
  Heat rate targets
  Better performance = Higher returns

## Slide 55: Evaluation Average Pricing
Advantages
  Simple
  Strong incentives for availability
Disadvantages
  Economic: Allocative inefficiency
  Financial: Risks for the IPP and Utility

## Slide 56: Economic Effects
Dispatch decisions should be based on marginal costs
Marginal costs of energy: The costs required to produce one additional kWh of energy
  Fuel costs, O&M costs
Including capacity costs in the price per kWh distorts price signals and leads to inefficient dispatch

## Slide 57: Financial Effects (1)
Price is set on the basis of average costs
  Expected costs divided by expected sales
Deviations creates risks
  Deviations in costs
  Deviations in sales

## Slide 58: Financial Effects (2)
$
Initial
Investment
Expected kWh Sales
Expected
Revenue
Actual Costs
Actual Revenue
price

## Slide 59: Capacity Charge
Capacity charge
  Independent of actual kWh output
  Recoup the investment costs and costs of capital
    Depreciation
    Cost of Debt (Interest)
    Cost of Equity (Dividends)
Different forms
  Explicit: USD/kW per month, USD/month
  Take or pay contract: Implicit capacity charge
    Minimum amount of kWh offtake irrespectively

## Slide 60: Evaluation capacity pricing
Financial risks for IPP and Utility mitigated
  But: Operational risks for Utility
Energy payment only
  Implies a pure price-contract (for kWh)
  Incentives to produce electricity and sell
  Risks of underproduction for IPP
Capacity payment
  Implies a fixed-fee contract (for kW)
  No particular incentive to produce kWh
  Risks of underproduction for Utility

## Slide 61: Availability Incentives
Step 1: Agree on target availability level
  Expressed in MW and hours or outage rates
  Year average or per season, down to hourly
Step 2: Fixed annual payment for reaching availability
  In principle equal to capital costs
  Depreciation and rate of return
Step 3: Availbility bonusses and penalties
  For deviations from the target
  May include caps

## Slide 62: Summary
Energy pricing
  Simple, attractive for small IPPs/ feed-in tariffs
  Strong availability incentives
  High risks for IPP
Explicit capacity pricing
  Covers production risks but require additional incentives
  Availability incentives can have high implementation costs
  More relavent to larger IPPs

## Slide 63: Thank you for your attention
Viren.Ajodhia@energycon.biz
+597 8960758 / +31 648925401